2023 WATER QUALITY REPORT

FOR

EXIRA WATER DEPT.

This report contains important information regarding the water quality in our water system. The source of our water is groundwater. All of the water is purchased. Purchased water comes from Regional Water. Our water quality testing shows the following results:

| CONTAMINANT | MCLG |  | MCL | Type | Value & (Range) | Date | VIOLATION | SOURCE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Lead (ppb) | 0 |  | AL=15 | 90th | 0.00 ( ND-9) | 2022 | No | Corrosion of household plumbing systems; erosion of natural deposits |
| Copper (ppm) |  | 1.3 | AL=1.3 | 90th | 0.03 (ND-0.05) | 2022 | No | Corrosion of household plumbing systems; Erosion of natural deposits; Leaching from wood preservatives |
| Total Haloacetic Acids (ppb) [HAA5] |  | N/A | 60 | LRAA | 7.00 (7-7) | 09/30/23 | No | By- product of drinking water disinfection |
| Total Trihalomethanes |  | N/A | 80 | LRAA | 24.00 (24-24) | 09/30/2023 | No | By-products of drinking water chlorination |

[6]950-Distibution System

| Chlorine (ppm) | MRDLG =4.0 | MRDL=4.0 | RAA | 1.2 (0.76-1.44) | 09/30/2022 | No | Water additive used to control microbes |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Note: Contaminants with dates indicate results from the most recent testing done in accordance with regulations.

DEFINITIONS

- Maximum Contaminant Level (MCL) – The highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

- Maximum Contaminant Level Goal (MCLG) -- The level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

- ppb -- parts per billion.

- ppm -- parts per million.

- pCi/L – picocuries per liter

- N/A – Not applicable

- ND -   Not Detected

# Treatment Technique (TT) – A required process intended to reduce the level of a contaminant in drinking water.

- Action Level (AL) – The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

- Maximum Residual Disinfectant Level Goal (MRDLG) - The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants.

- Maximum Residual Disinfectant Level (MRDL) - The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

GENERAL INFORMATION

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that water posed a health risk.  More information about contaminants or potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline (800-426-4791).

Some people may be more vulnerable to contaminants in drinking water than the general population.  Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers.  EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children.  Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. City of Exira is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components.  When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking.  If you are concerned about lead in your water, you may wish to have your water tested.  Information on lead in drinking water, testing methods and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline or at http://www.epa.gov/safewater/lead

SOURCE WATER ASSESSMENT INFORMATION									                                                                                                                                                                                                                                                                                                                                                                                                                                                                                        This water supply obtains some or all of its water from another public water supply. It is a consecutive water supply, where an originating parent provides drinking water to one or more downstream supplies.

OTHER INFORMATION                                                                                                                                                                               Since November 2005 the City of Exira has been buying its water from Regional Water their test results are included in this report.                       A copy of this report will not be mailed to individual customers a copy can be picked up at City Hall.

# CONTACT INFORMATION

| Original Supply ID | Original Supply Name |
| --- | --- |
| IA8300184 | Regional Water |

For questions regarding this information, please contact City Hall at (712) 268-2187 during the following hours: 8:00 to 3:00

Decisions regarding the water system are made at the Council meetings held on the First Wednesday at 7:30 P.M. March thru September and 6:30 P.M. October thru February at City Hall and are open to the public.

PURCHASED WATER INFORMATION

Our water system purchases water from the system(s) shown below Their water quality is as follows:

8300184-REGIONAL WATER

01-wells(1-19,N4-N20,15R)

| CONTAMINANT | MCLG |  | MCL | Detected Level | Rang Of Detection | Date Sampled | VIOLATION | SOURCE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sodium(ppm) | N/A |  | N/A | 16 |  | 07/18/2023 | No | Erosion of natural deposits; Added to water during treatment process |
| Nitrate [as N] (ppm) |  | 10 | 10 | 0.3615 |  | 2023 | No | Runoff from fertilizer use; Leaching from septic tanks and Erosion of natural deposits |

| Fluoride | 4 | 4 | 0.46 |  | 07/18/2023 | No | Water additive which promotes strong teeth |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 2.4-D (ppb) | 70 | 70 | .20 |  | 04/11/2023 | No | Runoff from herbicide used on row crops |  |